## Instructions
Half-Hourly Electricity Data Analyser
For manufacturers: understand where your electricity goes before spending money on it.
1. Get your half-hourly (HH) data
Most suppliers can provide half-hourly electricity data where a meter is HH-settled. Common routes:
a. Ask your supplier or broker for a CSV export of half-hourly consumption (kWh per 30 minutes).
b. In a supplier web portal, look for 'Consumption', 'Half-hourly data' or 'Reports' and export as CSV.
c. Not sure if your meter is HH-settled? Ask your supplier: 'Is my meter half-hourly settled, and can I get the HH export?'
2. Paste the data
Paste into the 'Data' sheet, columns A to C, one row per 30-minute interval:
Column A = Date (e.g. 01/10/2026) Column B = Interval start time (e.g. 00:00) Column C = kWh for that interval.
The data area is rows 8 to 17527, sized for 12 months (17,520 intervals). Overtype ONLY columns A, B and C.
When you paste, Excel should convert the date column to real dates; if it does not, select the column, set the format to Date
and use 'Text to Columns' with a comma delimiter to force conversion. Dates must be consistent down the column.
If your data starts later than row 8, that is fine: empty rows are ignored.
3. Sample rows
Rows 4 to 7 of the Data sheet are marked SAMPLE in column D. They show the expected layout but are NOT counted in any analysis.
Delete or overtype them with your real data.
4. Working hours input
The 'Working Hours' sheet has one input block: your weekday working window (default suggestion 07:00 to 18:00, Monday to Friday).
Cream cells with a lime border are yours to edit. Everything on the analysis sheets recalculates from these cells.
5. Analysis sheets
Daily Totals: kWh per day and peak interval per day. Weekly Totals: kWh and peak interval per week.
Baseload: minimum and low-percentile interval kWh, and an indicative annual cost at that level using a rate you enter.
Out of Hours: kWh inside versus outside your working window, with the percentage split.
Peak Demand: highest interval in your data and per week, with a note on converting to kW.
Day Profile: average kWh by half-hour across weekdays versus weekends, with a line chart.
6. Before you act on any number
Every figure in this workbook comes from the data you paste in. Treat outputs as estimates for discussion.
Confirm with your supplier whether your export is kWh per half-hour interval, and whether capacity is billed in kW or kVA.
Check current official guidance before relying on any figure for compliance or investment decisions.
Hawley Energy: independent energy consultancy. www.hawleyenergy.co.uk, 01484 958761, hello@hawleyenergy.co.uk

## Data
ENTER DATA HERE: paste half-hourly data in columns A to C. Rows 4 to 7 are samples and are not counted.
Date | Time | kWh | Note | Helper columns (calculated, do not edit)
01/10/2026 | 07:00 | 42 | SAMPLE: not counted
01/10/2026 | 07:30 | 44.5 | SAMPLE: not counted
01/10/2026 | 08:00 | 48.2 | SAMPLE: not counted
01/10/2026 | 08:30 | 51 | SAMPLE: not counted

## Working Hours
Working hours input
Edit the cream cells. These define what counts as 'in hours'. Defaults are a suggestion only: change them to match your shifts.
Weekday start of working hours (24h, e.g. 07:00) | 07:00
Weekday end of working hours (24h, e.g. 18:00) | 18:00
Window start (interval index, calculated)
Window end (interval index, calculated)
The window applies Monday to Friday. Weekends and all other times count as out of hours. Enter times as text in 24-hour format.

## Daily Totals
kWh and peak interval per day
Fill the cream cell with the first date of your data. The rest calculates from the Data sheet.
Date | Total kWh (day) | Peak interval kWh (day) | Intervals with data | First date of your data
Enter the first date of your data (e.g. 01/01/2026). The date column fills down for 366 days; dates with no data stay blank.
Peak kW note: if your export is kWh per half hour, peak kW = peak interval kWh x 2. Confirm your metering basis on the Peak Demand sheet before quoting kW.

## Weekly Totals
kWh and peak interval per week
Weeks run Monday to Sunday. Enter the first Monday of your data; 53 weeks fill down.
Week starting (Mon) | Total kWh (week) | Peak interval kWh (week) | Intervals with data | First Monday of your data
Enter a Monday date. Week totals cover that Monday to the following Sunday.

## Baseload
Baseload estimate
The smallest interval figures indicate the load that runs continuously. All values are computed from your own data: no external benchmark is applied.
| Minimum interval kWh in your data | The single smallest interval. One quiet hour can drag this down: cross-check with the percentile below.
| 10th percentile of interval kWh (indicative continuous load) | Lower than 90 percent of your intervals. Smoothes single quiet intervals: often a more stable view of continuous load.
| Average interval kWh across all intervals with data | For comparison only: this is average consumption, not baseload.
| Intervals with data used | How much data the estimates rest on. 17,520 intervals = 12 months.
Your unit rate (pence per kWh, from a recent bill)
Optional. Enter a rate only if you want an indicative cost. No rate is suggested: take it from a recent bill and confirm what charges it includes.
| Estimated annual cost of running at the 10th percentile level (all hours) | Annual hours in a half-hourly year = 48 x 365. Indicative only: actual baseload, tariffs and charges vary. Check against your own bills.
Check current official guidance and your own bills before using any figure here for decisions.

## Out of Hours
In hours versus out of hours
Uses the working window on the 'Working Hours' sheet. Change the window there and this sheet recalculates.
kWh inside working hours (Mon to Fri, in your window)
kWh outside working hours (all other intervals)
Total kWh with data
% inside working hours
% outside working hours
Intervals inside working hours
Intervals outside working hours
A high out-of-hours share usually points to equipment left running, compressed air leaks or control settings worth reviewing. How high is 'high' depends entirely on your process: no benchmark is applied here.
If your data covers less than a full year the split still works, but state the period covered when you share the result.

## Peak Demand
Peak demand
Whether your data is kWh per half hour decides how kW is worked out. Confirm your metering basis with your supplier before quoting any kW figure.
| Your data basis (choose from the list) | kWh per half hour
Highest single interval kWh in your data
| Indicative peak kW (interval kWh x 2) |  | Peak kW = peak interval kWh x 2 ONLY where each interval is kWh over half an hour (kW = kWh / 0.5 h). If your export is average kW or kVA, do not multiply: confirm the basis first.
Date and time of that highest interval
Weekly peak check: enter the first Monday of your data in the cream cell.
Week starting (Mon) | Peak interval kWh (week)

## Day Profile
Average day profile
Average kWh by half-hour interval: weekdays versus weekends, computed from your data only. The most useful picture for spotting equipment that runs when it should not.
Interval start | Avg kWh weekdays | Avg kWh weekends
00:00
00:30
01:00
01:30
02:00
02:30
03:00
03:30
04:00
04:30
05:00
05:30
06:00
06:30
07:00
07:30
08:00
08:30
09:00
09:30
10:00
10:30
11:00
11:30
12:00
12:30
13:00
13:30
14:00
14:30
15:00
15:30
16:00
16:30
17:00
17:30
18:00
18:30
19:00
19:30
20:00
20:30
21:00
21:30
22:00
22:30
23:00
23:30